## Sheet1
*Amended 7/29/21
Fort Bend County Pricing Form
Bid 22-004
Term Contract for Medical Supplies
Vendor Name:
Section 1A: Airways | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
40mm Berman (dual channel) Oral Airway | ASIA-CONNECTION-TAIWIN | ME6504PK-5P |  | Yes | PK | 5 | 5 |  | 0
60mm Berman (dual channel) Oral Airway | ASIA-CONNECTION-TAIWIN | ME6506BK-5P |  | Yes | PK | 5 | 5 |  | 0
655413
80mm Berman (dual channel) Oral Airway | ASIA-CONNECTION-TAIWIN | ME6508GN-5P |  | Yes | PK | 5 | 8 |  | 0
90mm Berman (dual channel) Oral Airway | ASIA-CONNECTION-TAIWIN | ME6509YL-5P |  | Yes | PK | 5 | 16 |  | 0
100mm Berman (dual channel) Oral Airway | ASIA-CONNECTION-TAIWIN | ME6510RD-5P |  | Yes | PK | 5 | 20 |  | 0
110mm Berman (dual channel) Oral Airway | ASIA-CONNECTION-TAIWIN | ME6511ON-5P |  | Yes | PK | 5 | 10 |  | 0
Vendor Name:
Section 1A: Airways (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Endotracheal Tube with Stylette with easy-to-read depth marks and low pressure inflatable cuffs, sterile, latex-free, 2.0 Uncuffed |  |  |  | Yes | EA | 1 | 10 |  | 0
Endotracheal Tube with Stylette with easy-to-read depth marks and low pressure inflatable cuffs, sterile, latex-free, 2.5 cuffed |  |  |  | Yes | EA | 1 | 30 |  | 0
Endotracheal Tube with Stylette with easy-to-read depth marks and low pressure inflatable cuffs, sterile, latex-free, 3.0 cuffed |  |  |  | Yes | EA | 1 | 20 |  | 0
Endotracheal Tube with Stylette with easy-to-read depth marks and low pressure inflatable cuffs, sterile, latex-free, 3.5 cuffed |  |  |  | Yes | EA | 1 | 25 |  | 0
Endotracheal Tube with Stylette with easy-to-read depth marks and low pressure inflatable cuffs, sterile, latex-free, 4.0 cuffed |  |  |  | Yes | EA | 1 | 30 |  | 0
Endotracheal Tube with Stylette with easy-to-read depth marks and low pressure inflatable cuffs, sterile, latex-free, 4.5 cuffed |  |  |  | Yes | EA | 1 | 20 |  | 0
Vendor Name:
Section 1A: Airways (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
20F Nasopharyngeal airways | MEDSTORM | 51154 |  | Yes | EA | 1 | 35 |  | 0
24F Nasopharyngeal airways | MEDSTORM | 51156 |  | Yes | EA | 1 | 50 |  | 0
26F Nasopharyngeal airways | MEDSTORM | 51157 |  | Yes | EA | 1 | 70 |  | 0
28F Nasopharyngeal airways | MEDSTORM | 51158 |  | Yes | EA | 1 | 70 |  | 0
30F Nasopharyngeal Airways | MEDSTORM | 51159 |  | Yes | EA | 1 | 50 |  | 0
36F Nasopharyngeal Airways | MEDSTORM | 51162 |  | Yes | EA | 1 | 30 |  | 0
8F whistle tip Suction Catheter | ASIA-CONNECTION-TAIWIN | ME6808B |  | Yes | EA | 1 | 60 |  | 0
10F whistle tip Suction Catheter | ASIA-CONNECTION-TAIWIN | ME6810B |  | Yes | EA | 1 | 120 |  | 0
18F whistle tip Suction Catheter | ASIA-CONNECTION-TAIWIN | ME6818B |  | Yes | EA | 1 | 150 |  | 0
Yankauer with Control Vent and Tubing | MEDSOURCE | MS-YK20 |  | Yes | EA | 1 | 300 |  | 0
Infant Medium Concentration Oxygen Mask | RUSCH | 396218 |  | Yes | EA | 1 | 20 |  | 0
O2 Mask Pediatric Partial Non-Rebreather w/safety vent | HUDSON | 1058 |  | Yes | EA | 1 | 400 |  | 0
O2 Nasal Cannula Adult, 7ft | CURAPLEX | 24003 |  | Yes | EA | 1 | 2000 |  | 0
Vendor Name:
Section 1A: Airways (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Bougie-to-go ET Tube Introducer, Adult 15F x 60cm with Coude Tip | SUNMED | 9-0212-82 |  | Yes | EA | 1 | 200 |  | 0
Bougie ET Tube Introducer, Pediatric 10F x 70cm with Coude Tip | SUNMED | 9-0211-70 |  | Yes | EA | 1 | 40 |  | 0
O2 Nebulizer , small volume, hand held w/ pediatric mask, 7ft kink resistant tubing |  |  |  | Yes | EA | 1 | 100 |  | 0
O2 Nebulizer w/ Tubing and Mouthpiece | CURAPLEX | 301-200 |  | Yes | EA | 1 | 900 |  | 0
Oxygen Nut & Stem (Plastic) | SMITH MEDICAL | 33-2600 |  | Yes | EA | 1 | 5 |  | 0
Magill Forceps Adult sizes | ZULCO INTERNATIONAL | 9-476 |  | Yes | EA | 1 | 5 |  | 0
Magill Forceps Child sizes | SURGICAL DESIGN INC | 297 |  | Yes | EA | 1 | 5 |  | 0
Gastric Sump Tube, 48", 18F, Sterile | COVIDIEN | 8888264986 |  | Yes | EA | 1 | 100 |  | 0
Gastric sump tubing, 48", 14F, Sterile |  |  |  | Yes | EA | 1 | 10 |  | 0
Gastric sump tube, 36", 10F, Sterile |  |  |  | Yes | EA | 1 | 10 |  | 0
Vendor Name:
Section 1A: Airways (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Greenline/D Disposable Fiber Optic Laryngoscope Blades Macintosh 2 | SURGIMED | 5-5332-02 |  | Yes | EA | 1 | 20 |  | 0
Greenline/D Disposable Fiber Optic Laryngoscope Blades Macintosh 3 | VALUEMED | 301-B3030 |  | Yes | EA | 1 | 90 |  | 0
Greenline/D Disposable Fiber Optic Laryngoscope Blades Macintosh 4 | SUNMED | 5-5332-04 |  | Yes | EA | 1 | 200 |  | 0
Greenline/D Disposable Fiber Optic Laryngoscope Blades Miller 0 | SUNMED | 5-5333-00 |  | Yes | EA | 1 | 10 |  | 0
Greenline/D Disposable Fiber Optic Laryngoscope Blades Miller 1 | SUNMED | 5-5333-01 |  | Yes | EA | 1 | 20 |  | 0
Greenline/D Disposable Fiber Optic Laryngoscope Blades Miller 2 | SUNMED | 5-5333-02 |  | Yes | EA | 1 | 30 |  | 0
Greenline/D Disposable Fiber Optic Laryngoscope Blades Miller 3 | SUNMED | 5-5333-03 |  | Yes | EA | 1 | 80 |  | 0
Greenline/D Disposable Fiber Optic Laryngoscope Blades Miller 4 | SUNMED | 5-5333-04 |  | Yes | EA | 1 | 80 |  | 0
Greenline/D Fiber Optic, 10/32" Halogen/Xenon Reflector Laryn Lamp for Medium Laryngoscope Handle | SUNMED | 5-0240-52 |  | Yes | EA | 1 | 20 |  | 0
Vendor Name:
Section 1A: Airways (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
PEEP valve disposable adjustable 22mm inner diameter |  |  |  | Yes | EA | 1 | 100 |  | 0
Headrest, Bagel, 9", pink foam | *Cardinal Health | *3247-0141 |  | Yes | EA | 1 | 200 |  | 0
Suction Unit Aspirator Type Latex Free, Meconium |  |  |  | Yes | EA | 1 | 150 |  | 0
Vent Elbow With Port And Cap | *CareFusion | *001550 |  | Yes | EA | 1 | 300 |  | 0
*Suction Unit Aspirator Type Latex Free, Meconium |  |  |  | Yes | EA | 1 | 150
Item Removed
TMM-CR (tactical medical module- cricothyroidotomy) include; tracheostomy tube cuffed size 6.0, hemostat kelly forceps 5.5", scalpel #10 disposable sterile, sterile 10cc syringe, tracheal hook 4" | Chinook | 1364 |  | Yes | EA | 1 | 50 |  | 0
Thomas E.T. Tube Holder Adult size | LAREDAL | 600-10000 |  | Yes | EA | 1 | 450 |  | 0
Thomas E.T. Tube Holder Pediatric size | LAREDAL | 600-2000 |  | Yes | EA | 1 | 40 |  | 0
Endotracheal Tube with Stylette. High-Volume, Tapered, with Low Pressure Inflatable Cuff, Sterile, Latex Free, 5.0 | Sheridan |  |  | Yes | EA | 1 | 20 |  | 0
Endotracheal Tube with Stylette. High-Volume, Tapered, with Low Pressure Inflatable Cuff, Sterile, Latex Free, 6.0 | Sheridan |  |  | Yes | EA | 1 | 50 |  | 0
Endotracheal Tube with Stylette. High-Volume, Tapered, with Low Pressure Inflatable Cuff, Sterile, Latex Free, 7.0 | Sheridan |  |  | Yes | EA | 1 | 250 |  | 0
Vendor Name:
Section 1A: Airways (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Endotracheal Tube with Stylette. High-Volume, Tapered, with Low Pressure Inflatable Cuff, Sterile, Latex Free, 8.0 | Sheridan |  |  | Yes | EA | 1 | 250 |  | 0
Endotracheal Tube with Stylette. High-Volume, Tapered, with Low Pressure Inflatable Cuff, Sterile, Latex Free, 9.0 | Sheridan |  |  | Yes | EA | 1 | 250 |  | 0
1200cc Replacement/Disposable Suction Canister, for S-Scort "Ten" suction unit | BEMIS | 484410 |  | Yes | EA | 1 | 430 |  | 0
Yankaur "Big Yank" Suction Tip w/Control Vent, Sterile, 11/32"open tip, integral blister tube and canister connector pre-attached | CONMED | 0034920U |  | Yes | EA | 1 | 40 |  | 0
O2 Mask Adult Non-Rebreather w/o safety vent | HUDSON | 1060 |  | Yes | EA | 1 | 2000 |  | 0
Ambu Spur II bag valve Mask, Adult, Bag Reservoir Medium with Pop Off Valve, with Manometer, with Mask | Ambu |  |  | Yes | EA | 1 | 1000 |  | 0
BVM Face Mask, Small Adult, No Valve, Disposable, Duraclear | Ambu |  |  | Yes | EA | 1 | 1000 |  | 0
Pocket BVM w/ olive green case, with O2 tubing | MicroBVM | MB003xn |  | Yes | EA | 1 | 2 |  | 0
I-Gel Supraglotic Airway For Neonates (Size 1) 5-11 LBS | Itersurgical |  |  | Yes | EA | 1 | 150 |  | 0
I-Gel Supraglottic Airway For Infants (Size 1.5) 11-25 LBS | Itersurgical |  |  | Yes | EA | 1 | 150 |  | 0
Vendor Name:
Section 1A: Airways (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
I-Gel supraglottic Airway For Small Pediatrics (Size 2) 22-55 LBS | Itersurgical |  |  | Yes | EA | 1 | 150 |  | 0
I-Gel Supraglottic Airway For Large Pediatric (Size 2.5) 55-77 LBS | Itersurgical |  |  | Yes | EA | 1 | 200 |  | 0
I-Gel O2 Resus Pack, Small Adult, Includes Size 3 I gel O2, Lube, Strap, For Patients 30-60 KG | Itersurgical |  |  | Yes | EA | 1 | 500 |  | 0
I-Gel O2 Resus Pack, Medium Adult, Includes Size 4 I-Gel O2, Lube, Strap, For Patients 50-90 KG | Itersurgical |  |  | Yes | EA | 1 | 2000 |  | 0
I-Gel O2 Resus Pack, Large Adult, Includes Size 5 I-Gel O2, Lube, Strap, For Patients 90 plus KG | Itersurgical |  |  | Yes | EA | 1 | 2000 |  | 0
Indotracheal Tube Holder, Thomas Select, Adult, For ET/SGA Tubes 6.5mm ID to 42mm OD | Laredal |  |  | Yes | EA | 1 | 2500 |  | 0
Section 1A Total: | [8 empty] | 0
Vendor Name:
Section 1B: Airways, No Substitute Items | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
TMM-CR (tactical medical module- cricothyroidotomy) include; tracheostomy tube cuffed size 6.0, hemostat kelly forceps 5.5", scalpel #10 disposable sterile, sterile 10cc syringe, tracheal hook 4" | Chinook | 1364 |  | No | EA | 1 | 50 |  | 0
Thomas E.T. Tube Holder Adult size | LAREDAL | 600-10000 |  | No | EA | 1 | 450 |  | 0
Thomas E.T. Tube Holder Pediatric size | LAREDAL | 600-2000 |  | No | EA | 1 | 40 |  | 0
Endotracheal Tube with Stylette. High-Volume, Tapered, with Low Pressure Inflatable Cuff, Sterile, Latex Free, 5.0 | Sheridan | *5-10310 |  | No | EA | 1 | 20 |  | 0
Endotracheal Tube with Stylette. High-Volume, Tapered, with Low Pressure Inflatable Cuff, Sterile, Latex Free, 6.0 | Sheridan | *5-10312 |  | No | EA | 1 | 50 |  | 0
Endotracheal Tube with Stylette. High-Volume, Tapered, with Low Pressure Inflatable Cuff, Sterile, Latex Free, 7.0 | Sheridan | *5-10314 |  | No | EA | 1 | 250 |  | 0
Endotracheal Tube with Stylette. High-Volume, Tapered, with Low Pressure Inflatable Cuff, Sterile, Latex Free, 8.0 | Sheridan | *5-10316 |  | No | EA | 1 | 250 |  | 0
Endotracheal Tube with Stylette. High-Volume, Tapered, with Low Pressure Inflatable Cuff, Sterile, Latex Free, 9.0 | Sheridan | *5-10318 |  | No | EA | 1 | 250 |  | 0
1200cc Replacement/Disposable Suction Canister, for S-Scort "Ten" suction unit | BEMIS | 484410 |  | No | EA | 1 | 430 |  | 0
Yankaur "Big Yank" Suction Tip w/Control Vent, Sterile, 11/32"open tip, integral blister tube and canister connector pre-attached | CONMED | 0034920U |  | No | EA | 1 | 40 |  | 0
O2 Mask Adult Non-Rebreather w/o safety vent | HUDSON | 1060 |  | No | EA | 1 | 2000 |  | 0
Vendor Name:
Section 1B: Airways, No Substitute Items (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Ambu Spur II bag valve Mask, Adult, Bag Reservoir Medium with Pop Off Valve, with Manometer, with Mask | Ambu | *523611030 |  | No | EA | 1 | 1000 |  | 0
BVM Face Mask, Small Adult, No Valve, Disposable, Duraclear | Ambu | *000252054 |  | No | EA | 1 | 1000 |  | 0
Pocket BVM w/ olive green case, with O2 tubing | MicroBVM | MB003xn |  | No | EA | 1 | 2 |  | 0
I-Gel Supraglotic Airway For Neonates (Size 1) 5-11 LBS | Itersurgical | *8201000 |  | No | EA | 1 | 150 |  | 0
I-Gel Supraglottic Airway For Infants (Size 1.5) 11-25 LBS | Itersurgical | *8215000 |  | No | EA | 1 | 150 |  | 0
I-Gel supraglottic Airway For Small Pediatrics (Size 2) 22-55 LBS | Itersurgical | *8202000 |  | No | EA | 1 | 150 |  | 0
I-Gel Supraglottic Airway For Large Pediatric (Size 2.5) 55-77 LBS | Itersurgical | *8225000 |  | No | EA | 1 | 200 |  | 0
I-Gel O2 Resus Pack, Small Adult, Includes Size 3 I gel O2, Lube, Strap, For Patients 30-60 KG | Itersurgical | *8703000 |  | No | EA | 1 | 500 |  | 0
I-Gel O2 Resus Pack, Medium Adult, Includes Size 4 I-Gel O2, Lube, Strap, For Patients 50-90 KG | Itersurgical | *8704000 |  | No | EA | 1 | 2000 |  | 0
I-Gel O2 Resus Pack, Large Adult, Includes Size 5 I-Gel O2, Lube, Strap, For Patients 90 plus KG | Itersurgical | *8705000 |  | No | EA | 1 | 2000 |  | 0
Indotracheal Tube Holder, Thomas Select, Adult, For ET/SGA Tubes 6.5mm ID to 42mm OD | Laredal | *600-42500 |  | No | EA | 1 | 2500 |  | 0
Section 1B Total: | [8 empty] | 0
Vendor Name:
Section 2A: IV/Syringes/Blood | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
18g x 1 1/2" Needle Only 100/bx |  |  |  | Yes | BX | 100 | 20 |  | 0
23g x 1" Needle Only 100/bx |  |  |  | Yes | BX | 100 | 20 |  | 0
1cc 25g x 5/8" Syringe & Needle 100/bx |  |  |  | Yes | BX | 100 | 6 |  | 0
3cc Syringe, Luer lock |  |  |  | Yes | BX | 100 | 20 |  | 0
5cc 22g x 1" Syringe & Needle 100/bx |  |  |  | Yes | BX | 100 | 10 |  | 0
10cc Syringe Luer Lock 100/bx |  |  |  | Yes | BX | 100 | 10 |  | 0
60cc Syringe Luer Lock 30/bx |  |  |  | Yes | BX | 30 | 5 |  | 0
60cc Catheter Tip Syringe, 2oz |  |  |  | Yes | BX | 25 | 1 |  | 0
Maxi Drip Set, 82" 10GTTW/Bravo 24, Pre-slit Port, Removable 7" Extension, 50/bx |  |  |  | Yes | CS | 50 | 100 |  | 0
Mini Drop Basic Administration Set with One Injection Site, (60 Drops/mL) Control Clamp, injection site 28" above distal end, two-piece male luer lock. Priming Volume: 12mL, Length: 66 in. |  |  |  | Yes | EA | 1 | 500 |  | 0
9% Sodium Chloride Injection USP-1000ml |  |  |  | Yes | EA | 1 | 20 |  | 0
9% Sodium Chloride Injection USP-500ml |  |  |  | Yes | EA | 1 | 6000 |  | 0
9% Sodium Chloride Injection USP-250ml |  |  |  | Yes | EA | 1 | 20 |  | 0
Vendor Name:
Section 2A: IV/Syringes/Blood (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
9% Sodium Chloride Injection USP- 100ml |  |  |  | Yes | EA | 1 | 500 |  | 0
Sterile Water for Irrigation, 500mL |  |  |  | Yes | EA | 1 | 200 |  | 0
Smallbore Extension Set with bonded Ultrasite Injection site, Length: 7 in, Priming Volume: 0.6mL (approx) |  |  |  | Yes | EA | 1 | 12000 |  | 0
IV armboard, reusable, plywood core, 3inX9in |  |  |  | Yes | EA | 1 | 30 |  | 0
IV armboard, reusable, plywood core, 3 in X 12 in |  |  |  | Yes | EA | 1 | 10 |  | 0
IV armboard, reusable, plywood core, 3 in X 18 in |  |  |  | Yes | EA | 1 | 10 |  | 0
Angiocath Peripheral Venous Catheter 14g X 5.25 in |  |  |  | Yes | EA | 1 | 10 |  | 0
Surecan Safety Huber w/ Ultrasite needlefree infusion system, 20ga X 3/4 |  |  |  | Yes | EA | 1 | 10 |  | 0
IntraLock Lipid Compatible 3-Way Stop Cock |  |  |  | Yes | EA | 1 | 100 |  | 0
Catheter Intravenous (IV) 16 Gauge, 2 inches Non-Safety |  |  |  | Yes | EA | 1 | 30 |  | 0
IV administration Set, STAT 2, Gravity Flow Controller, 60 drop, 84 inches, 2 Latex Free Splint Septum Y Sites. | ConMed |  |  | Yes | EA | 1 | 500 |  | 0
Surgical Clipper Starter Kit, includes clipper body 9661 and charger 9662, no blade assembly | 3M | 9661 |  | Yes | EA | 1 | 5 |  | 0
Vendor Name:
Section 2A: IV/Syringes/Blood (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Assure Prism Multi-meter Glucometer | ARKRAY USA INC | 530001 |  | Yes | EA | 1 | 30 |  | 0
Clearsafe I.V. Catheter, 14g X 1 1/4 inch | MEDSOURCE | MS-84214 |  | Yes | EA | 1 | 100 |  | 0
Clearsafe I.V. Catheter, 16g X 1 1/4 inch | MEDSOURCE | MS-84216 |  | Yes | EA | 1 | 300 |  | 0
Clearsafe I.V. Catheter, 18g X 1 1/4 inch | MEDSOURCE | MS-84218 |  | Yes | EA | 1 | 4000 |  | 0
Clearsafe I.V. Catheter, 20g X 1 1/4 inch | MEDSOURCE | MS-84220 |  | Yes | EA | 1 | 10000 |  | 0
Clearsafe I.V. Catheter, 22g X 1 inch | MEDSOURCE | MS-84222 |  | Yes | EA | 1 | 3000 |  | 0
Clearsafe I.V. Catheter, 24g X 3/4 inch | MEDSOURCE | MS- 84224 |  | Yes | EA | 1 | 400 |  | 0
Assure prism multi test trips for assure prism multi meter 50/bx | ARKRAY USA INC | 530050 |  | Yes | BX | 50 | 50 |  | 0
Assure prism control solution 1and 2 | ARKRAY USA INC | 530006 |  | Yes | EA | 1 | 10 |  | 0
Needle, Tension Pneumothorax, 14ga X 3.25 inch needle and catheter, hard plastic case | H&H | HHTP N01 |  | Yes | EA | 1 | 50 |  | 0
Section 2A Total: | [8 empty] | 0
Vendor Name:
Section 2B: IV/Syringes/Blood, No Substitute Items | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
IV administration Set, STAT 2, Gravity Flow Controller, 60 drop, 84 inches, 2 Latex Free Splint Septum Y Sites. | ConMed | *s2v-60 |  | No | EA | 1 | 500 |  | 0
Surgical Clipper Starter Kit, includes clipper body 9661 and charger 9662, no blade assembly | 3M | 9661 |  | No | EA | 1 | 5 |  | 0
Assure Prism Multi-meter Glucometer | ARKRAY USA INC | 530001 |  | No | EA | 1 | 30 |  | 0
Clearsafe I.V. Catheter, 14g X 1 1/4 inch | MEDSOURCE | MS-84214 |  | No | EA | 1 | 100 |  | 0
Clearsafe I.V. Catheter, 16g X 1 1/4 inch | MEDSOURCE | MS-84216 |  | No | EA | 1 | 300 |  | 0
Clearsafe I.V. Catheter, 18g X 1 1/4 inch | MEDSOURCE | MS-84218 |  | No | EA | 1 | 4000 |  | 0
Clearsafe I.V. Catheter, 20g X 1 1/4 inch | MEDSOURCE | MS-84220 |  | No | EA | 1 | 10000 |  | 0
Clearsafe I.V. Catheter, 22g X 1 inch | MEDSOURCE | MS-84222 |  | No | EA | 1 | 3000 |  | 0
Clearsafe I.V. Catheter, 24g X 3/4 inch | MEDSOURCE | MS- 84224 |  | No | EA | 1 | 400 |  | 0
Assure prism multi test trips for assure prism multi meter 50/bx | ARKRAY USA INC | 530050 |  | No | BX | 50 | 50 |  | 0
Assure prism control solution 1 and 2 | ARKRAY USA INC | 530006 |  | No | EA | 1 | 10 |  | 0
Needle, Tension Pneumothorax, 14ga X 3.25 inch needle and catheter, hard plastic case | H&H | HHTP N01 |  | No | EA | 1 | 50 |  | 0
Section 2B Total: | [8 empty] | 0
Vendor Name:
Section 3A: Bandage/Splints/Tape | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
2" x 5yd Bandage, Self-Adherent, individually packaged |  |  |  | Yes | EA | 1 | 75 |  | 0
4" x 5yd Bandage, Self-Adherent, ,individually packaged |  |  |  | Yes | EA | 1 | 50 |  | 0
Combat Application Tourniquet (CAT), One-handed Tourniquet Utilizing Windlass System, Tactical Black |  |  |  | Yes | EA | 1 | 70 |  | 0
4x4 Non Sterile, non-woven, 4ply, 200/pkg |  |  |  | Yes | PK | 200 | 120 |  | 0
4x4 Sterile 12 ply - 2/pk |  |  |  | Yes | PK | 2 | 2000 |  | 0
4 1/2" x 4.1yd 6 ply Sterile Gauze Roll |  |  |  | Yes | EA | 1 | 1500 |  | 0
36" x 51" Triangular Bandage |  |  |  | Yes | EA | 1 | 200 |  | 0
8" x 10" Abdominal Pad, 20/tray |  |  |  | Yes | TRAY | 20 | 200 |  | 0
1" x 3" Adhesive Strip Bandage |  |  |  | Yes | BX | 100 | 100 |  | 0
Burn Sheet Sterile 60" x 96" |  |  |  | Yes | EA | 1 | 50 |  | 0
Trauma Dressing Sterile 10" x 30" |  |  |  | Yes | EA | 1 | 100 |  | 0
1" x 10yd Paper Tape, hypo-allergenic |  |  |  | Yes | BX | 12 | 7 |  | 0
Vendor Name:
Section 3A: Bandage/Splints/Tape (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Flex-All splint, orange, bendable foam and aluminum splint, 4" x 36" rolled |  |  |  | Yes | EA | 1 | 200 |  | 0
Israeli emergency compression bandage 4" |  |  |  | Yes | EA | 1 | 5 |  | 0
Israeli emergency compression bandage 6" |  |  |  | Yes | EA | 1 | 5 |  | 0
CAT Tourniquet Holder, Black, 6.25 inches Long X 1.75 Inches Wide X 1.5 Inches Deep |  |  |  | Yes | EA | 1 | 25 |  | 0
Sam Pelvic Sling II, Standard Size | Sam Medical |  |  | Yes | EA | 1 | 25 |  | 0
Rapid Heat Instant Heat Pack, Pull Apart Style, 6/bx | RAPID DEPLOYMENT PRODUCTS | 2056 |  | Yes | BX | 6 | 170 |  | 0
Rapid Cold Instant Cold Pack, Pull Apart Style, 24/cs | RAPID DEPLOYMENT PRODUCTS | 2004 |  | Yes | CS | 24 | 6 |  | 0
Ferno KED forehead/Chin Strap Replacement set of 2 |  |  |  | Yes | SET | 2 | 10 |  | 0
3M Transpore Tape 1" x 10yd 12/bx |  |  |  | Yes | BX | 12 | 10 |  | 0
2" x 10yd Waterproof Tape Kendall #3267 6/bx | Kendall | 3267 |  | Yes | BX | 6 | 18 |  | 0
Quikclot Combat Gauze LE Z-fold, 3 inch X 4 yard, NO HEAT | QUIKCLOT | 350 |  | Yes | EA | 1 | 5 |  | 0
HyFin chest seal without vent | NORTH AMERICAN RESCUE | 10-0015 |  | Yes | EA | 1 | 5 |  | 0
Section 3A Total: | [8 empty] | 0
Vendor Name:
Section 3B: Bandage/Splints/Tape, No Substitution Items | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Sam Pelvic Sling II, Standard Size | Sam Medical | *pack # 2004, Hot Pack # 2054 |  | No | EA | 1 | 25 |  | 0
Rapid Heat Instant Hot Pack, Pull Apart Style, 6/bx | RAPID DEPLOYMENT PRODUCTS | *2054 |  | No | BX | 6 | 170 |  | 0
Rapid Cold Instant Cold Pack, Pull Apart Style, 24/cs | RAPID DEPLOYMENT PRODUCTS | 2004 |  | No | CS | 24 | 6 |  | 0
Ferno KED forehead/Chin Strap Replacement set of 2 | Femo | 819928 |  | No | SET | 2 | 10 |  | 0
3M Transpore Tape 1" x 10yd 12/bx | 3M | 1527-1 |  | No | BX | 12 | 10 |  | 0
2" x 10yd Waterproof Tape Kendall #3267 6/bx | Kendall | 3267 |  | No | BX | 6 | 18 |  | 0
Quikclot Combat Gauze LE Z-fold, 3 inch X 4 yard, NO HEAT | QUIKCLOT | 350 |  | No | EA | 1 | 5 |  | 0
HyFin chest seal without vent | NORTH AMERICAN RESCUE | 10-0015 |  | No | EA | 1 | 5 |  | 0
Section 3B Total: | [8 empty] | 0
Vendor Name:
Section 4A: EKG | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Electrodes, Medi-Trace Mini, ECG monitoring, pediatric, foam, teardrop shape, adhesive hydrogel | *Covidien/Kendall | *31439766 |  | Yes | PK | 100 | 200 |  | 0
Masimo Adult SPO2 sensor Disposable | Masimo | 1859 |  | Yes | EA | 1 | 1000 |  | 0
Yes
Masimo Pedi SPO2 sensor Disposable | Masimo | 1860 |  | Yes | EA | 1 | 750 |  | 0
Yes
Masimo Infant SPO2 Sensor Disposable | Masimo | 2328 |  | Yes | EA | 1 | 500 |  | 0
Yes
Medicotest Blue Sensor Disposable Electrodes adult 25/pk | Ambu | R-00-S/25 |  | Yes | PK | 25 | 5000 |  | 0
Yes
Smart Capnoline Plus non-intubated, oral nasal w/ O2 tubing, adlut/intermediate | MicroStream | 9822 |  | Yes | EA | 1 | 3200 |  | 0
Yes
Filter line H set infant/ neonate, incl airway adapter, filterline, microstream connection | MicroStream | 6324 |  | Yes | EA | 1 | 20 |  | 0
Yes
Filter line set adult/pediatric airway adapter | MicroStream | XS04620 |  | Yes | EA | 1 | 650 |  | 0
Yes
Zoll X Series 80mm Thermal Paper, Pink with Grid | Zoll | X Series |  | Yes | EA | 1 | 1000 |  | 0
Section 4A Total: | [8 empty] | 0
Vendor Name:
Section 4B: EKG, No Substitute Items | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Masimo Adult SPO2 sensor Disposable | Masimo | 1859 |  | No | EA | 1 | 1000 |  | 0
Masimo Pedi SPO2 sensor Disposable | Masimo | 1860 |  | No | EA | 1 | 750 |  | 0
Masimo Infant SPO2 Sensor Disposable | Masimo | 2328 |  | No | EA | 1 | 500 |  | 0
Medicotest Blue Sensor Disposable Electrodes adult 25/pk | Ambu | R-00-S/25 |  | No | PK | 25 | 5000 |  | 0
Smart Capnoline Plus non-intubated, oral nasal w/ O2 tubing, adlut/intermediate | MicroStream | 9822 |  | No | EA | 1 | 3200 |  | 0
Filter line H set infant/ neonate, incl airway adapter, filterline, microstream connection | MicroStream | 6324 |  | No | EA | 1 | 20 |  | 0
Filter line set adult/pediatric airway adapter | MicroStream | XS04620 |  | No | EA | 1 | 650 |  | 0
Zoll X Series 80mm Thermal Paper, Pink with Grid | Zoll | X Series |  | No | EA | 1 | 1000 |  | 0
Section 4B Total: | [8 empty] | 0
Vendor Name:
Section 5A: EKG Cables | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Masimo SET LNC-4 LNCS Patient Cable, 4-foot reusable connector cable | Masimo | 2055 |  | Yes | EA | 1 | 10 |  | 0
Masimo SET LNCS DCIP Reusable Sensor, Multiuse sensor for patients 10-50kg | Masimo | 1863 |  | Yes | EA | 1 | 10 |  | 0
Masimo SET LNCS DCI Adult Reusable Sensor, Multiuse sensor for patients >30kg | Masimo |  |  | Yes | EA | 1 | 10 |  | 0
Disposable Cuff, Soft Infant, 2 Tube Twist Lock Connector For Zoll X Series | Welch Allyn |  |  | Yes | EA | 1 | 200 |  | 0
Disposable Cuff, Small Child, 12-16 cm, Single Tube with Twist Lock Connector For Zoll X Sreies | Welch Allyn |  |  | Yes | EA | 1 | 200 |  | 0
Disposable Cuff, Soft Small Adult, 2 Tube with Twist Lock Connector For Zoll X Series | Welch Allyn |  |  | Yes | EA | 1 | 300 |  | 0
Disposable Cuff, Soft Adult, 2 Tube with Twist Lock Connector For Zoll X Series | Welch Allyn |  |  | Yes | EA | 1 | 500 |  | 0
Disposable Cuff, Soft Large Adult, 2 Tube with Twist Lock Connector For Zoll X Series | Welch Allyn |  |  | Yes | EA | 1 | 700 |  | 0
Disposable Cuff, Soft Thigh, 2 Tube with Twist Lock Connector for Zoll X Series | Welch Allyn |  |  | Yes | EA | 1 | 200 |  | 0
OneStep Pediatric CPR Electrode for Zoll X Series | Zoll |  |  | Yes | EA | 1 | 150 |  | 0
CPR Stat Padz HVP Multi-Function CPR Electrodes for Zoll X Series | Zoll |  |  | Yes | EA | 1 | 1000 |  | 0
Reusable cuff, Adult, 2 tube with Twist Lock Connector For Zoll X Series | Welch Allyn |  |  | Yes | EA | 1 | 50 |  | 0
Vendor Name:
Section 5A: EKG Cables, (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Dual Lumen NIBP Tubing Assembly, 10 feet for Zoll X Series |  |  |  | Yes | EA | 1 | 25 |  | 0
12 Lead One Step ECG Cables AAMI Includes 4-Lead Trunk Cable and Removable Precordial 6 Lead Set for Zoll X Series |  |  |  | Yes | EA | 1 | 50 |  | 0
CPR-D Padz and CPR Stat Padz Connector for R series, Zoll |  |  |  | Yes | EA | 1 | 15 |  | 0
OneStep Cables for Zoll X Series |  |  |  | Yes | EA | 1 | 25 |  | 0
Masimo SET RC Patient Cable Compatible Rainbow SpO2, SpCO, SpMET, adult sensor | Masimo |  |  | Yes | EA | 1 | 5 |  | 0
Masimo SET RC Patient Cable | Masimo |  |  | Yes | EA | 1 | 10 |  | 0
Section 5A Total: | [8 empty] | 0
Vendor Name:
Section 5B: EKG Cables, No Substitute Items | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Masimo SET LNC-4 LNCS Patient Cable, 4-foot reusable connector cable | Masimo | 2055 |  | No | EA | 1 | 10 |  | 0
Masimo SET LNCS DCIP Reusable Sensor, Multiuse sensor for patients 10-50kg | Masimo | *1864 |  | No | EA | 1 | 10 |  | 0
Masimo SET LNCS DCI Adult Reusable Sensor, Multiuse sensor for patients >30kg | Masimo | *1863 |  | No | EA | 1 | 10 |  | 0
Disposable Cuff, Soft Infant, 2 Tube Twist Lock Connector For Zoll X Series | Welch Allyn | *soft-07-2MQ |  | No | EA | 1 | 200 |  | 0
Disposable Cuff, Small Child, 12-16 cm, Single Tube with Twist Lock Connector For Zoll X Sreies | Welch Allyn | *soft-08-2MQ |  | No | EA | 1 | 200 |  | 0
Disposable Cuff, Soft Small Adult, 2 Tube with Twist Lock Connector For Zoll X Series | Welch Allyn | *soft-10-2MQ |  | No | EA | 1 | 300 |  | 0
Disposable Cuff, Soft Adult, 2 Tube with Twist Lock Connector For Zoll X Series | Welch Allyn | *soft-11-2MQ |  | No | EA | 1 | 500 |  | 0
Disposable Cuff, Soft Large Adult, 2 Tube with Twist Lock Connector For Zoll X Series | Welch Allyn | *soft-12-2MQ |  | No | EA | 1 | 700 |  | 0
Disposable Cuff, Soft Thigh, 2 Tube with Twist Lock Connector for Zoll X Series | Welch Allyn | *soft-13-2MQ |  | No | EA | 1 | 200 |  | 0
OneStep Pediatric CPR Electrode for Zoll X Series | Zoll | *8900-000219-01 |  | No | EA | 1 | 150 |  | 0
CPR Stat Padz HVP Multi-Function CPR Electrodes for Zoll X Series | Zoll | *8900-0402 |  | No | EA | 1 | 1000 |  | 0
Reusable cuff, Adult, 2 tube with Twist Lock Connector For Zoll X Series | Welch Allyn | *reuse-11-2MQ |  | No | EA | 1 | 50 |  | 0
Dual Lumen NIBP Tubing Assembly, 10 feet for Zoll X Series | Zoll | 8300-0002-01 |  | No | EA | 1 | 25 |  | 0
12 Lead One Step ECG Cables AAMI Includes 4-Lead Trunk Cable and Removable Precordial 6 Lead Set for Zoll X Series | Zoll | 8300-0802-01 |  | No | EA | 1 | 50 |  | 0
CPR-D Padz and CPR Stat Padz Connector for R series, Zoll | Zoll | 8009-0020 |  | No | EA | 1 | 15 |  | 0
OneStep Cables for Zoll X Series | Zoll | 8300-00676 |  | No | EA | 1 | 25 |  | 0
Masimo SET RC Patient Cable Compatible Rainbow SpO2, SpCO, SpMET, adult sensor | Masimo | 2407 |  | No | EA | 1 | 5 |  | 0
Masimo SET RC Patient Cable | Masimo | 2404 |  | No | EA | 1 | 10 |  | 0
Section 5B Total: | [8 empty] | 0
Vendor Name:
Section 6A: Microflex Freeform SE Latex Free Powder Free Nitrile Exam Gloves | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Microflex Freeform SE Nitrile Exam Gloves, Powderfree Exam Gloves, 100/bx, 10bx/cs, 2.8 mil Cuff Thickness, 3.5 mil Palm Thickness, 5.1 mil Finger Thickness, Tensile Strength = 32 before aging (31 After aging), Elasticity = 500% Before Aging (400% after aging), Pinhole Defect Rate = 1.5, Extra Small | MICROFLEX | FFS-700-XS |  | Yes | BX | 100 | 100 |  | 0
Microflex Freeform SE Nitrile Exam Gloves, Powderfree Exam Gloves, 100/bx, 10bx/cs, 2.8 mil Cuff Thickness, 3.5 mil Palm Thickness, 5.1 mil Finger Thickness, Tensile Strength = 32 before aging (31 After aging), Elasticity = 500% Before Aging (400% after aging), Pinhole Defect Rate = 1.5, Small | MICROFLEX | FFS-700-S |  | Yes | BX | 100 | 200 |  | 0
Microflex Freeform SE Nitrile Exam Gloves, Powderfree Exam Gloves, 100/bx, 10bx/cs, 2.8 mil Cuff Thickness, 3.5 mil Palm Thickness, 5.1 mil Finger Thickness, Tensile Strength = 32 before aging (31 After aging), Elasticity = 500% Before Aging (400% after aging), Pinhole Defect Rate = 1.5, Medium | MICROFLEX | FFS-700-M |  | Yes | BX | 100 | 600 |  | 0
Microflex Freeform SE Nitrile Exam Gloves, Powderfree Exam Gloves, 100/bx, 10bx/cs, 2.8 mil Cuff Thickness, 3.5 mil Palm Thickness, 5.1 mil Finger Thickness, Tensile Strength = 32 before aging (31 After aging), Elasticity = 500% Before Aging (400% after aging), Pinhole Defect Rate = 1.5, Large | MICROFLEX | FFS-700-L |  | Yes | BX | 100 | 600 |  | 0
Microflex Freeform SE Nitrile Exam Gloves, Powderfree Exam Gloves, 100/bx, 10bx/cs, 2.8 mil Cuff Thickness, 3.5 mil Palm Thickness, 5.1 mil Finger Thickness, Tensile Strength = 32 before aging (31 After aging), Elasticity = 500% Before Aging (400% after aging), Pinhole Defect Rate = 1.5, Extra Large | MICROFLEX | FFS-700-XL |  | Yes | BX | 100 | 200 |  | 0
Section 6A Total: | [8 empty] | 0
Vendor Name:
Section 6B: Microflex Freeform SE Latex Free Powder Free Nitrile Exam Gloves, No Substitute Items | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Microflex Freeform SE Nitrile Exam Gloves, Powderfree Exam Gloves, 100/bx, 10bx/cs, 2.8 mil Cuff Thickness, 3.5 mil Palm Thickness, 5.1 mil Finger Thickness, Tensile Strength = 32 before aging (31 After aging), Elasticity = 500% Before Aging (400% after aging), Pinhole Defect Rate = 1.5, Extra Small | MICROFLEX | FFS-700-XS |  | No | BX | 100 | 100 |  | 0
Microflex Freeform SE Nitrile Exam Gloves, Powderfree Exam Gloves, 100/bx, 10bx/cs, 2.8 mil Cuff Thickness, 3.5 mil Palm Thickness, 5.1 mil Finger Thickness, Tensile Strength = 32 before aging (31 After aging), Elasticity = 500% Before Aging (400% after aging), Pinhole Defect Rate = 1.5, Small | MICROFLEX | FFS-700-S |  | No | BX | 100 | 200 |  | 0
Microflex Freeform SE Nitrile Exam Gloves, Powderfree Exam Gloves, 100/bx, 10bx/cs, 2.8 mil Cuff Thickness, 3.5 mil Palm Thickness, 5.1 mil Finger Thickness, Tensile Strength = 32 before aging (31 After aging), Elasticity = 500% Before Aging (400% after aging), Pinhole Defect Rate = 1.5, Medium | MICROFLEX | FFS-700-M |  | No | BX | 100 | 600 |  | 0
Microflex Freeform SE Nitrile Exam Gloves, Powderfree Exam Gloves, 100/bx, 10bx/cs, 2.8 mil Cuff Thickness, 3.5 mil Palm Thickness, 5.1 mil Finger Thickness, Tensile Strength = 32 before aging (31 After aging), Elasticity = 500% Before Aging (400% after aging), Pinhole Defect Rate = 1.5, Large | MICROFLEX | FFS-700-L |  | No | BX | 100 | 600 |  | 0
Microflex Freeform SE Nitrile Exam Gloves, Powderfree Exam Gloves, 100/bx, 10bx/cs, 2.8 mil Cuff Thickness, 3.5 mil Palm Thickness, 5.1 mil Finger Thickness, Tensile Strength = 32 before aging (31 After aging), Elasticity = 500% Before Aging (400% after aging), Pinhole Defect Rate = 1.5, Extra Large | MICROFLEX | FFS-700-XL |  | No | BX | 100 | 200 |  | 0
Section 6B Total: | [8 empty] | 0
Vendor Name:
Section 7A: Microflex Freeform EC Latex Free Powder Free Nitrile Exam Gloves | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Microflex Freeform EC Nitrile Exam Gloves, Powderfree Exam Gloves, 50/bx, 10bx/cs, 3.5 mil Cuff Thickness, 4.7 mil Palm Thickness, 6.3 mil Finger Thickness, Tensile Strength = 31 before aging (27 After aging), Elasticity = 500% Before Aging (500% after aging), Pinhole Defect Rate = 1.5, Small | MICROFLEX | FFE-775-S |  | Yes | BX | 50 | 10 |  | 0
Microflex Freeform EC Nitrile Exam Gloves, Powderfree Exam Gloves, 50/bx, 10bx/cs, 3.5 mil Cuff Thickness, 4.7 mil Palm Thickness, 6.3 mil Finger Thickness, Tensile Strength = 31 before aging (27 After aging), Elasticity = 500% Before Aging (500% after aging), Pinhole Defect Rate = 1.5, Medium | MICROFLEX | FFE-775-M |  | Yes | BX | 50 | 10 |  | 0
Microflex Freeform EC Nitrile Exam Gloves, Powderfree Exam Gloves, 50/bx, 10bx/cs, 3.5 mil Cuff Thickness, 4.7 mil Palm Thickness, 6.3 mil Finger Thickness, Tensile Strength = 31 before aging (27 After aging), Elasticity = 500% Before Aging (500% after aging), Pinhole Defect Rate = 1.5, Large | MICROFLEX | FFE-775-L |  | Yes | BX | 50 | 10 |  | 0
Microflex Freeform EC Nitrile Exam Gloves, Powderfree Exam Gloves, 50/bx, 10bx/cs, 3.5 mil Cuff Thickness, 4.7 mil Palm Thickness, 6.3 mil Finger Thickness, Tensile Strength = 31 before aging (27 After aging), Elasticity = 500% Before Aging (500% after aging), Pinhole Defect Rate = 1.5, Extra Large | MICROFLEX | FFE-775-XL |  | Yes | BX | 50 | 10 |  | 0
Microflex Freeform EC Nitrile Exam Gloves, Powderfree Exam Gloves, 50/bx, 10bx/cs, 3.5 mil Cuff Thickness, 4.7 mil Palm Thickness, 6.3 mil Finger Thickness, Tensile Strength = 31 before aging (27 After aging), Elasticity = 500% Before Aging (500% after aging), Pinhole Defect Rate = 1.5, Extra Extra Large | MICROFLEX | FFE-775-XXL |  | Yes | BX | 50 | 10 |  | 0
Total of Section 7A: | [8 empty] | 0
Vendor Name:
Section 7B: Microflex Freeform EC Latex Free Powder Free Nitrile Exam Gloves, No Substitute Items | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Microflex Freeform EC Nitrile Exam Gloves, Powderfree Exam Gloves, 50/bx, 10bx/cs, 3.5 mil Cuff Thickness, 4.7 mil Palm Thickness, 6.3 mil Finger Thickness, Tensile Strength = 31 before aging (27 After aging), Elasticity = 500% Before Aging (500% after aging), Pinhole Defect Rate = 1.5, Small | MICROFLEX | FFE-775-S |  | No | BX | 50 | 10 |  | 0
Microflex Freeform EC Nitrile Exam Gloves, Powderfree Exam Gloves, 50/bx, 10bx/cs, 3.5 mil Cuff Thickness, 4.7 mil Palm Thickness, 6.3 mil Finger Thickness, Tensile Strength = 31 before aging (27 After aging), Elasticity = 500% Before Aging (500% after aging), Pinhole Defect Rate = 1.5, Medium | MICROFLEX | FFE-775-M |  | No | BX | 50 | 10 |  | 0
Microflex Freeform EC Nitrile Exam Gloves, Powderfree Exam Gloves, 50/bx, 10bx/cs, 3.5 mil Cuff Thickness, 4.7 mil Palm Thickness, 6.3 mil Finger Thickness, Tensile Strength = 31 before aging (27 After aging), Elasticity = 500% Before Aging (500% after aging), Pinhole Defect Rate = 1.5, Large | MICROFLEX | FFE-775-L |  | No | BX | 50 | 10 |  | 0
Microflex Freeform EC Nitrile Exam Gloves, Powderfree Exam Gloves, 50/bx, 10bx/cs, 3.5 mil Cuff Thickness, 4.7 mil Palm Thickness, 6.3 mil Finger Thickness, Tensile Strength = 31 before aging (27 After aging), Elasticity = 500% Before Aging (500% after aging), Pinhole Defect Rate = 1.5, Extra Large | MICROFLEX | FFE-775-XL |  | No | BX | 50 | 10 |  | 0
Microflex Freeform EC Nitrile Exam Gloves, Powderfree Exam Gloves, 50/bx, 10bx/cs, 3.5 mil Cuff Thickness, 4.7 mil Palm Thickness, 6.3 mil Finger Thickness, Tensile Strength = 31 before aging (27 After aging), Elasticity = 500% Before Aging (500% after aging), Pinhole Defect Rate = 1.5, Extra Extra Large | MICROFLEX | FFE-775-XXL |  | No | BX | 50 | 10 |  | 0
Total of Section 7B: | [8 empty] | 0
Vendor Name:
Section 8A: AMBU PERFIT Cervical Collars | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Perfit ACE Adjustable Cervical Collar, 16 setting (Neckless to Tall) | Perfit | *281000 |  | Yes | EA | 1 | 1500 |  | 0
Perfit Mini ACE Adjustable Cervical Collar, 12 settings (Infant to Neckless) | Perfit | *281106 |  | Yes | EA | 1 | 150 |  | 0
Total of Section 8A: | [8 empty] | 0
Section 8B: AMBU PERFIT Cervical Collars, No Substitute Items | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Perfit ACE Adjustable Cervical Collar, 16 setting (Neckless to Tall) | Perfit | *281000 |  | No | EA | 1 | 1500 |  | 0
Perfit Mini ACE Adjustable Cervical Collar, 12 settings (Infant to Neckless) | Perfit | *281106 |  | No | EA | 1 | 150 |  | 0
Total of Section 8B: | [8 empty] | 0
Vendor Name:
Section 9A: Head Immobilizers | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Laerdal Sta-Blok Head Immobilizer. Single use disposable device, radiolucent, Adjustable standard Velcro padded strap, latex free | LAERDAL | 700-00001 |  | Yes | EA | EA | 900 |  | 0
Total of Section 9A: | [8 empty] | 0
Section 9B: Head Immobilizers, No Substitute Items | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Laerdal Sta-Blok Head Immobilizer. Single use disposable device, radiolucent, Adjustable standard Velcro padded strap, latex free | LAERDAL | 700-00001 |  | No | EA | EA | 900 |  | 0
Total of Section 9B: | [8 empty] | 0
Vendor Name:
Section 10A: Miscellaneous Supplies | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Disposable OB Kit, Soft Packaging |  |  |  | Yes | EA | 1 | 25 |  | 0
Alcohol Prep Pads, Medium Size TRIAD 200/bx |  |  |  | Yes | BX | 200 | 300 |  | 0
Emesis Bags, single use, Clear, Graduate, 1000cc, latex free, rigid collar, automatic seal |  |  |  | Yes | EA | 1 | 2000 |  | 0
Sterile Lubricating Jelly, 5g, 72/bx |  |  |  | Yes | BX | 72 | 10 |  | 0
Oxygen Cylinder Handwheel, Metal |  |  |  | Yes | EA | 1 | 10 |  | 0
Large Oxygen Cylinder Wrench (aluminum) |  |  |  | Yes | EA | 1 | 10 |  | 0
Encono Paramedic Shears Drk Blue 7 1/2" |  |  |  | Yes | EA | 1 | 100 |  | 0
Disposable Penlight |  |  |  | Yes | EA | 1 | 100 |  | 0
*21G Single use push button activated, spring loaded, retractable Lancet, 100/bx |  |  |  | Yes | BX | 100 | 120 |  | 0
Chloraprep 3mL Applicator, 2% Chlorhexidine Gluconate and 70% Isopropyl Alcohol |  |  |  | Yes | BX | 25 | 6 |  | 0
Safety control seals, Pull Tite (numbered), 100/pkg |  |  |  | Yes | PK | 100 | 1 |  | 0
Vendor Name:
Section 10A: Miscellaneous Supplies (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Razor, Medline Fixed Head, 100/bx |  |  |  | Yes | BX | 100 | 4 |  | 0
Disposable PolYester Patient Blanket, 50x84", Blue or Grey |  |  |  | Yes | EA | 1 | 50 |  | 0
Oxygen "D" Cylinder Gasket, Brass w/Rubber Center |  |  |  | Yes | EA | 1 | 10 |  | 0
Heavy Duty Ring Cutter |  |  |  | Yes | EA | 1 | 5 |  | 0
Scalpel, Disposable, Sterile 11 |  |  |  | Yes | EA | 1 | 5 |  | 0
Blade Assembly, single-use, pivoting, purple, for 3M 9661 surgical clippers |  |  |  | Yes | EA | 1 | 50 |  | 0
Isopropyl Alcohol 70 % 4 oz Bottle |  |  |  | Yes | EA | 1 | 40 |  | 0
Isopropyl Alcohol 70% 16 oz Bottle |  |  |  | Yes | EA | 1 | 12 |  | 0
Mylar Emergency Blanket, 52 X 84 inches |  |  |  | Yes | EA | 1 | 50 |  | 0
Cot Sheet, Fitted, For Stryker G-Force Mattress, Blue, 36 inches X 90 inches, Fluid Resistant | Taylor |  |  | Yes | Ea | 1 | 5000 |  | 0
Disposable Probe Cover for SureTemp Plus Thermometer, 25/bx | WELCHALLYN | 5031 |  | Yes | BX | 25 | 200 |  | 0
Endure 300 Cida-Rinse Dispenser, 540ml |  |  |  | Yes | EA | 1 | 10 |  | 0
Total of Section 10A: | [8 empty] | 0
Section 10B: Miscellaneous Supplies, No Substitute Items | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Cot Sheet, Fitted, For Stryker G-Force Mattress, Blue, 36 inches X 90 inches, Fluid Resistant | Taylor | *90-GFRC3690 |  | No | Ea | 1 | 5000 |  | 0
Disposable Probe Cover for SureTemp Plus Thermometer, 25/bx | WELCHALLYN | 5031 |  | No | BX | 25 | 200 |  | 0
Endure 300 Cida-Rinse Dispenser, 540ml | EcoLab | 6000004 |  | No | EA | 1 | 10 |  | 0
Total of Section 10B: | [8 empty] | 0
Vendor Name:
Section 11A: Infection Control | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Fluid shield mask with clear visor, anti-fog, 2" wrap around, ear loops 25/bx |  |  |  | Yes | BX | 25 | 2 |  | 0
Sharps Dart, sharps container with one time lockable seal, 6.5" |  |  |  | Yes | BX | 24 | 60 |  | 0
Bemis bio hazard box wall safe type | BEMIS | 150-020 |  | Yes | EA | 1 | 250 |  | 0
Bemis bio hazard box wall safe bracket | BEMIS | 415 |  | Yes | EA | 1 | 12 |  | 0
Bemis bio hazard box wall safe bracket key | BEMIS | 410 |  | Yes | EA | 1 | 12 |  | 0
Safety Glasses, Nemesis V30, black frame, clear lens, neck cord included | KIMBERLY-CLARK | 25676-00 |  | Yes | EA | 1 | 250 |  | 0
Inovel medical N95 respirator, all sizes, must meet CDC guidelines for tuberculosis exposure control in addition to NIOSH and CDC standards for N95 protection against airbourne pathogens 24/pk |  |  |  | Yes | *BX | *20 | 2 |  | 0
Particulate Respirator and Surgical Mask 1860/1860S | 3M |  |  | Yes | EA | 1 | 20 |  | 0
Particulate Respirator, 8210 | 3M |  |  | Yes | EA | 1 | 20 |  | 0
1870 n95 mask | 3M |  |  | Yes | EA | 1 | 20 |  | 0
Gel Hand Sanitizer w/ pump 540 mL | ECOLAB | 47593-487-31 |  | Yes | EA | 1 | 50 |  | 0
Total of Section 11A: | [8 empty] | 0
Section 11B: Infection Control, No Substitute Items | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Bemis bio hazard box wall safe type | BEMIS | 150-020 |  | No | EA | 1 | 250 |  | 0
Bemis bio hazard box wall safe bracket | BEMIS | 415 |  | No | EA | 1 | 12 |  | 0
Bemis bio hazard box wall safe bracket key | BEMIS | 410 |  | No | EA | 1 | 12 |  | 0
Safety Glasses, Nemesis V30, black frame, clear lens, neck cord included | KIMBERLY-CLARK | 25676-00 |  | No | EA | 1 | 250 |  | 0
Inovel medical N95 respirator, all sizes, must meet CDC guidelines for tuberculosis exposure control in addition to NIOSH and CDC standards for N95 protection against airbourne pathogens 24/pk | Moldex | 1511 - 1512 - 1513 |  | No | *BX | *20 | 2 |  | 0
Particulate Respirator and Surgical Mask 1860/1860S | 3M |  |  | No | EA | 1 | 20 |  | 0
Particulate Respirator, 8210 | 3M |  |  | No | EA | 1 | 20 |  | 0
1870 n95 mask | 3M |  |  | No | EA | 1 | 20 |  | 0
Gel Hand Sanitizer w/ pump 540 mL | ECOLAB | 47593-487-31 |  | No | EA | 1 | 50 |  | 0
Total of Section 11B: | [8 empty] | 0
Vendor Name:
Section 12A: Capitals | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Aneroid Sphygmomanometer, infant, Nylon cuff, minimum 10 year calibration Warranty, with zippered carry case |  |  |  | Yes | EA | 1 | 10 |  | 0
Aneroid Sphygomomanometer, pedi, Nylon cuff, latex, minimum 10 year Calibration warranty, with zippered carry case |  |  |  | Yes | EA | 1 | 10 |  | 0
Aneroid Sphygomomanometer, adult, Nylon cuff, latex, minimum 10 year Calibration warranty, with zippered carry case |  |  |  | Yes | EA | 1 | 30 |  | 0
Aneroid Sphygomomanometer, large adult, Nylon cuff, latex, minimum 10 year Calibration warranty, with zippered carry case |  |  |  | Yes | EA | 1 | 15 |  | 0
Aneroid Sphygomomanometer, thigh, Nylon cuff, latex, minimum 10 year Calibration warranty, with zippered carry case |  |  |  | Yes | EA | 1 | 10 |  | 0
Oxygen flow meter with Ohmeda QC Adapter 1-15LPM |  |  |  | Yes | EA | 1 | 10 |  | 0
Restraint strap seat belt buckle loop end, Black, 2 piece, 5’ |  |  |  | Yes | EA | 1 | 10 |  | 0
Restraint straps chest system, black, nylon, Metal push button, loop ends |  |  |  | Yes | EA | 1 | 10 |  | 0
*Restraint strap seat belt buckle loop end, Black, 2 piece, 5’ |  |  |  | Yes | EA | 1 | 10
Item Removed
Vendor Name:
Section 12A: Capitals (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
*Restraint straps chest system, black, nylon, Metal push button, loop ends |  |  |  | Yes | EA | 1 | 10
Item Removed
Oxygen cylinder with toggle, aluminum, D size |  |  |  | Yes | EA | 1 | 5 |  | 0
Oxygen regulator/pressure reducer, brass, CGA 540 2800-R-2 |  |  |  | Yes | EA | 1 | 5 |  | 0
Oxygen regulator, 1 DISS 1BARB 0-25 LPM |  |  |  | Yes | EA | 1 | 5 |  | 0
Replacement Ankle Hitch for QD3 & QD4 Traction |  |  |  | Yes | EA | 1 | 5 |  | 0
Replacement Ischial Strap for Adult/Child QD3/QD4 Traction Splint |  |  |  | Yes | EA | 1 | 5 |  | 0
Oxygen cylinder with toggle, aluminum, C size |  |  |  | Yes | EA | 1 | 5 |  | 0
Traction splint w/aluminum ratchet, Adult QD-4 |  |  |  | Yes | EA | 1 | 5 |  | 0
Traction splint w/aluminum ratchet, child QD-3 |  |  |  | Yes | EA | 1 | 5 |  | 0
Kendrick KODE 1 vest, green |  |  |  | Yes | EA | 1 | 5 |  | 0
LA Rescue cervical collar bag, 24”L x 11”H x 5”W |  |  |  | Yes | EA | 1 | 5 |  | 0
Vendor Name:
Section 12A: Capitals (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
2-Piece Nylon Restraint Strap with Metal Push Button Buckle and Swivel Speed Clip Ends, 5 Feet Long X 23 inches Wide, Black |  |  |  | Yes | EA | 1 | 30 |  | 0
* Moved to 12C - Module, Deluxe Video Larengoscope Video Bag With Pockets, Red |  |  |  | Yes | EA | 1 | 2
Battery Rechargeable For S-Scort VX2 2310 And 2314 Suction Units |  |  |  | Yes | EA | 1 | 5 |  | 0
G3 Golden Hour, Orange, BBP resistant, 18 inches high X 17 inches Wide X 8 inches Deep | StatPack |  |  | Yes | EA | 1 | 5 |  | 0
Greenline/D Laryngoscope handle, fiber optic, chrome plated, 2AA batteries, penlite handle |  |  |  | Yes | EA | 1 | 10 |  | 0
Greenline/D Laryngoscope handle, fiber optic, chrome plated, C batteries |  |  |  | Yes | EA | 1 | 10 |  | 0
ADScope 603 Stethoscope, Navy Blue, Stainless Steel, 21", w/additional eartips and diaphragm | AMERICAN DIAGNOSTIC CORP | 603N |  | Yes | EA | 1 | 30 |  | 0
Stat packG3 backup, Red, BBP resistant, 25 in H X 18 in W X 8.5 in D with Fort Bend County EMS embroidery | StatPak | G35006RE |  | Yes | EA | 1 | 5 |  | 0
Thermometer, electronic, SureTemp Plus Model 690 | WelchAllyn | 690 |  | Yes | EA | 1 | 10 |  | 0
Vendor Name:
Section 12A: Capitals (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Probe and well kit, rectal 4’, for SureTempPlus 690 thermometer | WelchAllyn | 02892-000 |  | Yes | EA | 1 | 10 |  | 0
Probe and well kit, oral, 4’, for SureTempcPlus 690 themometer | WelchAllyn | 02893-000 |  | Yes | EA | 1 | 5 |  | 0
Locking Twice-as-Tough CUFF WRIST Restraint with lock on connecting strap, adjustable, machine washable | POSEY | 2750 |  | Yes | EA | 1 | 150 |  | 0
Locking Twice-as-Tough Ankle Restraint with lock on cuff and connecting strap, adjustable, machine washable | POSEY | 2755 |  | Yes | EA | 1 | 120 |  | 0
Megamover plus transport unit, 40x80 Nonwoven ply gret w/backboard pockets, 1500 lb capacity | GRAHAM PROFESSIONAL | 53376 |  | Yes | EA | 1 | 10 |  | 0
LUCAS 2 Disposable Suction Cup, 3/pk | PHYSIO CONTROL | 11576-000046 |  | Yes | PK | 3 | 5 |  | 0
LUCAS Patient Strap | PHYSIO CONTROL | 11576-000050 |  | Yes | SET | 2 | 5 |  | 0
LUCAS Stabilization Strap | PHYSIO CONTROL | 21996-000064 |  | Yes | EA | 1 | 5 |  | 0
LUCAS Standard Back Plate | PHYSIO CONTROL | 21996-000044 |  | Yes | EA | 1 | 5 |  | 0
Trauma/Air management bag III, 26” x 18.5” x 12.5”, blue, Ferno #5111 | FERNO | 5111 |  | Yes | EA | 1 | 5 |  | 0
Hawkepack ET Kit pullout, green with yellow stripe | HAWKEPAKS | 02-04F5 |  | Yes | EA | 1 | 5 |  | 0
Vendor Name:
Section 12A: Capitals (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Ferno professional intubation mini bag, royal blue | FERNO | 5115 |  | Yes | EA | 1 | 5 |  | 0
5.11 Rush 72 Back Pack, Black | 5.11 | rush72 |  | Yes | EA | 1 | 5 |  | 0
*Flowmeter With Ohmeda Adapter, Oxygen, Sidemount |  |  |  | Yes | EA | 1 | 10 |  | 0
Fasplint Semi-Disposable Vacuum Splint, Small | Hartwell Medical |  |  | Yes | EA | 1 | 100 |  | 0
Fasplint Semi-Disposable Vacuum Splint, Medium | Hartwell Medical |  |  | Yes | EA | 1 | 100 |  | 0
Fasplint Semi-Disposable Vacuum Splint, Large | Hartwell Medical |  |  | Yes | EA | 1 | 100 |  | 0
Fasplint Vacuum Pump, Economy | Hartwell Medical |  |  | Yes | EA | 1 | 25 |  | 0
Fasplint Replacement Case, Rectangular | Hartwell Medical |  |  | Yes | EA | 1 | 25 |  | 0
Fasplint Tapered Adapter | Hartwell Medical |  |  | Yes | EA | 1 | 15 |  | 0
Suction Unit, S-Scort VX2, With Variable Regulator, DC Cable And Converter | S-Scort |  |  | Yes | EA | 1 | 5 |  | 0
*Item Removed - Curaplex Quick-Connect Carrier | Curaplex |  |  | Yes | EA | 1 | 10
Converter AC/DC for S-Scort VX2, SS2100, 2310 Series And Quickdraw | S-Scort |  |  | Yes | EA | 1 | 5 |  | 0
Suction Unit DC Cable Assembly Cigarette Lighter Adapter For S-Scort | S-Scort |  |  | Yes | EA | 1 | 5 |  | 0
Total of Section 12A: | [8 empty] | 0
Vendor Name:
Section 12B: Capitals, No Substitute Items | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
G3 Golden Hour, Orange, BBP resistant, 18 inches high X 17 inches Wide X 8 inches Deep | StatPack | *G350030R |  | No | EA | 1 | 5 |  | 0
*Item moved to 12A - Greenline/D Laryngoscope handle, fiber optic, chrome plated, 2AA batteries, penlite handle | Greenline |  |  | No | EA | 1 | 10
*Item moved to 12A -Greenline/D Laryngoscope handle, fiber optic, chrome plated, C batteries | Greenline |  |  | No | EA | 1 | 10
ADScope 603 Stethoscope, Navy Blue, Stainless Steel, 21", w/additional eartips and diaphragm | AMERICAN DIAGNOSTIC CORP | 603N |  | No | EA | 1 | 30 |  | 0
Stat packG3 backup, Red, BBP resistant, 25 in H X 18 in W X 8.5 in D with Fort Bend County EMS embroidery | StatPak | G35006RE |  | No | EA | 1 | 5 |  | 0
Thermometer, electronic, SureTemp Plus Model 690 | WelchAllyn | 690 |  | No | EA | 1 | 10 |  | 0
Probe and well kit, rectal 4’, for SureTempPlus 690 thermometer | WelchAllyn | 02892-000 |  | No | EA | 1 | 10 |  | 0
Probe and well kit, oral, 4’, for SureTempcPlus 690 themometer | WelchAllyn | 02893-000 |  | No | EA | 1 | 5 |  | 0
Locking Twice-as-Tough CUFF WRIST Restraint with lock on connecting strap, adjustable, machine washable | POSEY | 2750 |  | No | EA | 1 | 150 |  | 0
Locking Twice-as-Tough Ankle Restraint with lock on cuff and connecting strap, adjustable, machine washable | POSEY | 2755 |  | No | EA | 1 | 120 |  | 0
Megamover plus transport unit, 40x80 Nonwoven ply gret w/backboard pockets, 1500 lb capacity | GRAHAM PROFESSIONAL | 53376 |  | No | EA | 1 | 10 |  | 0
LUCAS 2 Disposable Suction Cup, 3/pk | PHYSIO CONTROL | 11576-000046 |  | No | PK | 3 | 5 |  | 0
LUCAS Patient Strap | PHYSIO CONTROL | 11576-000050 |  | No | SET | 2 | 5 |  | 0
LUCAS Stabilization Strap | PHYSIO CONTROL | 21996-000064 |  | No | EA | 1 | 5 |  | 0
LUCAS Standard Back Plate | PHYSIO CONTROL | 21996-000044 |  | No | EA | 1 | 5 |  | 0
Vendor Name:
Section 12B: Capitals, No Substitute Items, (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Trauma/Air management bag III, 26” x 18.5” x 12.5”, blue, Ferno #5111 | FERNO | 5111 |  | No | EA | 1 | 5 |  | 0
Hawkepack ET Kit pullout, green with yellow stripe | HAWKEPAKS | 02-04F5 |  | No | EA | 1 | 5 |  | 0
Ferno professional intubation mini bag, royal blue | FERNO | 5115 |  | No | EA | 1 | 5 |  | 0
5.11 Rush 72 Back Pack, Black | 5.11 | rush72 |  | No | EA | 1 | 5 |  | 0
*Item moved to 12A - Flowmeter With Ohmeda Adapter, Oxygen, Sidemount |  |  |  |  | EA | 1 | 10
Fasplint Semi-Disposable Vacuum Splint, Small | Hartwell Medical | *FS-801 |  | No | EA | 1 | 100 |  | 0
Fasplint Semi-Disposable Vacuum Splint, Medium | Hartwell Medical | *FS-802 |  | No | EA | 1 | 100 |  | 0
Fasplint Semi-Disposable Vacuum Splint, Large | Hartwell Medical | *FS-803 |  | No | EA | 1 | 100 |  | 0
Fasplint Vacuum Pump, Economy | Hartwell Medical | *FS12PL |  | No | EA | 1 | 25 |  | 0
Fasplint Replacement Case, Rectangular | Hartwell Medical | *FS14RC |  | No | EA | 1 | 25 |  | 0
*Fasplint Tapered Adapter | Hartwell Medical | *FS-15TIP |  | No | EA | 1 | 15 |  | 0
Suction Unit, S-Scort VX2, With Variable Regulator, DC Cable And Converter | S-Scort | *230-00003 |  | No | EA | 1 | 5 |  | 0
*Item moved to 12D - Curaplex Quick-Connect Carrier | Combi Carrier | *3245-19123 |  | No | EA | 1 | 10 |  | 0
Converter AC/DC for S-Scort VX2, SS2100, 2310 Series And Quickdraw | S-Scort | *80521-100 |  | No | EA | 1 | 5 |  | 0
Suction Unit DC Cable Assembly Cigarette Lighter Adapter For S-Scort | S-Scort | *80665 |  | No | EA | 1 | 5 |  | 0
Total of Section 12B: | [8 empty] | 0
Vendor Name:
*Section 12C: Capitals, Bag | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
*Module, Deluxe Video Larengoscope Video Bag With Pockets, Red, to fit Airtraq camera and blades | Bound Tree |  |  | Yes | EA | 1 | 2 |  | 0
Total of Section 12C: | [8 empty] | 0
*Section 12D: Capitals, Curaplex, No Sub | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
*Curaplex Quick-Connect Carrier | Combi Carrier | *3245-19123 |  | No | EA | 1 | 10 |  | 0
Total of Section 12D: | [8 empty] | 0
Section 13: Medication | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Vendors must provide a Transaction Report with all prescription drug shipments. The Transaction Report must contain all information required by the Drug Supply Chain Security Act as outlined by the FDA.
Adenosine 6mg/2mL (3mg/mL) 2mL Single dose |  |  |  | Yes | EA | 1 | 12 |  | 0
Adenosine 12mg/4mL (3mg/mL) 4mL Single dose |  |  |  | Yes | EA | 1 | 100 |  | 0
Acetaminophen 15mL Infant Drops (80mg per 0.8mL) |  |  |  | Yes | EA | 1 | 100 |  | 0
Pain Reliever Non-Asprin 500mg 2/pk 125pk/bx |  |  |  | Yes | PK | 2 | 400 |  | 0
Amiodarone, 150mg, 3mL Vial |  |  |  | Yes | EA | 1 | 400 |  | 0
Aspirin 81mg Tablets 36/bottle |  |  |  | Yes | BT | 36 | 90 |  | 0
Atropine Sulfate 18g x 1 1/2", 0.1mg/mL, 10mL Prefilled Syringe with protected needle |  |  |  | Yes | EA | 1 | 400 |  | 0
Atrovent Solution 0.5mg, 2.5mL |  |  |  | Yes | BX | 30 | 8 |  | 0
Ipratropium Bromide/ Albuterol, 0.5mg/ 3.0mg, 30/bx |  |  |  | Yes | BX | 30 | 15 |  | 0
Calcium Chloride, 1Gm, 10mL |  |  |  | Yes | EA | 1 | 100 |  | 0
Diphenhydramine 50mg/mL, 1mL Vial |  |  |  | Yes | EA | 1 | 180 |  | 0
IV Solution, dextrose 10% in 250 mL bag | Baxter |  |  | Yes | EA | 1 | 500 |  | 0
Dopamine HCL in 5% Dextrose, 500mL IV Bag-800mg |  |  |  | Yes | EA | 1 | 100 |  | 0
Vendor Name:
Section 13: Medication (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Vendors must provide a Transaction Report with all prescription drug shipments. The Transaction Report must contain all information required by the Drug Supply Chain Security Act as outlined by the FDA.
Epinephrine 1:1000, 1mg/mL, 1mL Single dose Vial |  |  |  | Yes | EA | 1 | 150 |  | 0
Epinephrine 1:10,000, 18g, 1/2" (0.1mg/mL) 10mL Prefill Syringe with protected needle |  |  |  | Yes | EA | 1 | 900 |  | 0
Racemic Epi 2.25% 0.5mL Unit Dose |  |  |  | Yes | EA | 1 | 70 |  | 0
Amidate (Etomidate Injection), 20mg (2mg/mL), 10mL Single Dose Ampule |  |  |  | Yes | EA | 1 | 200 |  | 0
Glucagon 1mg Emergency Kit |  |  |  | Yes | EA | 1 | 100 |  | 0
Glutose 37.5g Unit dose tube |  |  |  | Yes | EA | 1 | 250 |  | 0
Heparin Sodium 5000u, 1mL |  |  |  | Yes | EA | 1 | 80 |  | 0
Labetalol Hydrochloride Injection, USP 100 mg/20 mL, 5mg per mL |  |  |  | Yes | EA | 1 | 150 |  | 0
Lidocaine 2% with male luer lock prefilled syringe, 100mg/5mL |  |  |  | Yes | EA | 1 | 250 |  | 0
Lidocaine 2g in 500mL D5W |  |  |  | Yes | EA | 1 | 75 |  | 0
Magnesium Sulfate 50%, 1g/2mL Vial |  |  |  | Yes | EA | 1 | 200 |  | 0
Naloxone 2mg/2mL - 2mL Pre-filled Syringe |  |  |  | Yes | EA | 1 | 150 |  | 0
Nitroglycerin Ointment, 2%, 30g Tube |  |  |  | Yes | EA | 1 | 50 |  | 0
Vendor Name:
Section 13: Medication (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Vendors must provide a Transaction Report with all prescription drug shipments. The Transaction Report must contain all information required by the Drug Supply Chain Security Act as outlined by the FDA.
Nitrolingual Spray, 4.1g, 400mcg per Spray, 90 sprays per can |  |  |  | Yes | EA | 1 | 40 |  | 0
Nitrostat, 0.4mg Sublingual Tabs, 25 per bottle |  |  |  | Yes | BT | 25 | 10 |  | 0
Promethazine 25 mg, 1mL vial |  |  |  | Yes | EA | 1 | 300 |  | 0
Albuterol Sulfate, USP Inhalation Solution, 0.083%, 2.5mg/3mL (0.83mg/mL), 25/bx |  |  |  | Yes | BX | 25 | 35 |  | 0
Rocuronium 10mg/mL, 10mL Vial |  |  |  | Yes | EA | 1 | 120 |  | 0
Sodium BiCarbonate 8.4% 10mL pedi Lifeshield |  |  |  | Yes | EA | 1 | 20 |  | 0
Sodium Bicarb 8.4%, 50mEq, 50mL Prefilled luer lock syringe |  |  |  | Yes | EA | 1 | 450 |  | 0
0.9% Sodium Chloride, 10mL in 12mL luer lock syringe |  |  |  | Yes | EA | 1 | 8000 |  | 0
Solumedrol 125mg, 2mL Acto-vial |  |  |  | Yes | EA | 1 | 300 |  | 0
Succinylcholine 200mg, 10mL vial |  |  |  | Yes | EA | 1 | 150 |  | 0
Ketorolac 60mg 2mL vial |  |  |  | Yes | EA | 1 | 275 |  | 0
Carpuject Injector |  |  |  | Yes | EA | 1 | 20 |  | 0
Ondansetron 4mg dissolve tabs 30ud/bx |  |  |  | Yes | EA | 30 | 30 |  | 0
Ondansetron 4mg 2ml VIAL 25/BX |  |  |  | Yes | EA | 25 | 8 |  | 0
Vendor Name:
Section 13: Medication (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Vendors must provide a Transaction Report with all prescription drug shipments. The Transaction Report must contain all information required by the Drug Supply Chain Security Act as outlined by the FDA.
Mucosal Automation Device, Nasal/Oral, Latex free, 3mL Syringe |  |  |  | Yes | EA | 1 | 20 |  | 0
Mucosal Atomization Device Without Syringe |  |  |  | Yes | EA | 1 | 200 |  | 0
Captopril 12.5mg tabs 100/bt |  |  |  | Yes | BT | 100 | 50 |  | 0
Diltiazem 25mg, 5mL Vial |  |  |  | Yes | EA | 300 | 150 |  | 0
Cyanokit 5 GM Hydroxocobalamin Kit, Contains 1 IV Admin Set and 1 Transfer Spike |  |  |  | Yes | EA | 5 | 10 |  | 0
Propranolol 1mg, 1mL vial |  |  |  | Yes | EA | 25 | 10 |  | 0
Atropine 8mg, 20mL Vial |  |  |  | Yes | EA | 50 | 30 |  | 0
Protopam Chlorode, 20mL PWVL |  |  |  | Yes | EA | 50 | 10 |  | 0
Methylene Blue 1% 100mg, 10mL Vial |  |  |  | Yes | EA | 50 | 10 |  | 0
Nithiodote Kit, Includes One Sodium Nitrite (300mg/10mL Vial) And One Sodium Thiosulfate (12.5GM/50mL) |  |  |  | Yes | EA | 50 | 10 |  | 0
Galgonate Jel, Calcium Gluconate 2.5%, 25GM Tube |  |  |  | Yes | EA | 15 | 10 |  | 0
Dopamine, 400mg In D5W 250mL Bag |  |  |  | Yes | EA | 100 | 100 |  | 0
Famotidine 10mg/mL, 2mL SDV |  |  |  | Yes | EA | 500 | 250 |  | 0
Vendor Name:
Section 13: Medication (cont'd) | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units Purchased | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Vendors must provide a Transaction Report with all prescription drug shipments. The Transaction Report must contain all information required by the Drug Supply Chain Security Act as outlined by the FDA.
Norepinephrine 1mg/mL, 4 mL vial |  |  |  | Yes | EA | 500 | 1000 |  | 0
Metclopramide 5 mg/mL, 2 mL Vial |  |  |  | Yes | EA | 250 | 700 |  | 0
Total of Section 13: | [8 empty] | 0
Vendor Name:
Section 14: Controlled Substance Medication | Manufacturer Name | Manufacturer Number | Vendor's Item Number | Substitutes are only allowed for each item stating Yes below. | Unit Item is Delivered/ Invoiced by (Case, Box, Pkg, Carton, Ea, etc.) | Quantity in Unit (Case, Box, Pkg, Carton, Ea, etc.) | Estimated Annual Number of Units to Purchase | Bid Price per Unit (4 decimal limit, $1.1234) | Extended Cost
Vendors must provide a Transaction Report with all prescription drug shipments. The Transaction Report must contain all information required by the Drug Supply Chain Security Act as outlined by the FDA.
Morphine Sulfate Injection, USP 1mg/mL, 10mL single dose |  |  |  | Yes | EA | 1 | 20 |  | 0
Morphine Sulfate Injection, USP 10mg/mL, 1mL single dose |  |  |  | Yes | EA | 1 | 200 |  | 0
Midazolam 2mg, 2mL single dose |  |  |  | Yes | EA | 1 | 75 |  | 0
Midazolam 10mg, 2mL single dose |  |  |  | Yes | EA | 1 | 250 |  | 0
C3 Ketamine 5mg/ml 10ml 10/bx / controlled |  | *0143-9508-10 |  | Yes | BX | 10 | 150 |  | 0
Fentanyl Citrate Injection USP, 250mcg (0.05mg per mL) in 5mL |  |  |  | Yes | EA | 1 | 900 |  | 0
Diazepam Injection 10mg (5mg/mL) 2mL Single Dose |  |  |  | Yes | EA | 1 | 200 |  | 0
Hydromorphone 2 mg/mL, 1 mL Vial |  |  |  | Yes | Ea | 1 | 300 |  | 0
Total of Section 14: | [8 empty] | 0